## Charge Code
Nominal Watts | Unit Description 1 | Unit Description 2 | Company | Manufacturer's Designation | New Charge Code | Circuit Watts | Circuit VA | Circuit VAR | Circuit Power Factor | Dimmed Circuit Watts | Dimmed Circuit VA | Dimmed Circuit VAR | Dimmed Power Factor | Status | Date Issued | End Date | Standard/Non Standard Conversion | Lamps / Signals / Miscellaneous | Date Amended (This column is used when a change to the equipment description, circuit watts, or anything other than the Charge Code itself is made. | Amendment Notes
0 | CMS Equipment |  | Lucy Zodion | F683x – Sensor Node | 98 0000 0002 100 | 0 | 0.4 | 0 | 0.41 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
5 | Communications Equipment |  | Lucy Zodion | F6800 - Multitech Conduit – MTCDTIP-LEU-xxx-868 F6801 - Multitech Conduit – MTCDTIP-LEU-xxx-915 | 79 36 005 001 100 | 5.7 | 16 | 15 | 0.35 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
37 | Automated Number Plate Recognition System |  | Neology UK Ltd | PIPS P500 Range ANPR Camera | 8070037001100 | 37 | 42 | 20 | 0.88 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
23 | WiFi Equipment |  | IgniteNET (Quickline Communications) | Metrolinq 10G Tri-Band Omni: ML-60-10G-360 with Carrier POE Adapter: GME40B-480135FDA-2 | 8820023001100 | 23 | 41 | 35 | 0.55 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
38 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 1 (RWS200, DRS511, 2 x Mobotix M15 and WR21) | 8300038000100 | 38 | 86 | 76 | 0.45 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
50 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 2 (RWS200, DRS511, 2 x Mobotix M15 and WR21, 2 x VAR14) | 8300050000100 | 50 | 86 | 76 | 0.45 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
32 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 3 (RWS200, DRS511, 1 x Mobotix M15 and WR21) | 8300032000100 | 32 | 82 | 75 | 0.39 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
37 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 4 (RWS200, DRS511, 1 x Mobotix M15 and WR21, 1 x VAR14) | 8300037000100 | 37 | 82 | 75 | 0.39 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
24 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 5 (RWS200, DRS511, WR21) | 8300024000100 | 24 | 79 | 75 | 0.31 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
39 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 6 (RWS200, DSC211, DST111, 2 x Mobotix M15 and WR21) | 8300039000100 | 39 | 86 | 77 | 0.46 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
50 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 7 (RWS200, DSC211, DST111, 2 x Mobotix M15 and WR21, 2 x VAR14) | 8300050001100 | 50 | 86 | 77 | 0.46 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
36 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 8 (RWS200, DSC211, DST111, 1 x Mobotix M15 and WR21) | 8300036000100 | 36 | 83 | 75 | 0.43 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
41 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 9 (RWS200, DSC211, DST111, 1 x Mobotix M15 and WR21, 1 x VAR14) | 8300041000100 | 41 | 83 | 75 | 0.43 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
29 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 10 (RWS200, DSC211, DST111 and WR21) | 8300029000100 | 29 | 80 | 75 | 0.36 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous
23 | Weather detection/measurement equipment | Highway Camera and Sensors | Vaisala | RWS200 config 11 (RWS200 and WMT700) | 8300023000100 | 23 | 78 | 75 | 0.29 |  |  |  |  | P | 2018-12-19 |  |  | Miscellaneous

## Drop downs (hidden)
Description | Code | Status | MDD release dates | Equipment Type
General lighting service filament | 01 | P | 2016-01-20 | Lamps
Tungsten Halogen | 03 |  | 2016-02-17 | Signals
Low Pressure Sodium | 11 |  | 2016-03-16 | Miscellaneous
Low Pressure Sodium (Economy) | 12 |  | 2016-04-20
High Pressure Sodium | 14 |  | 2016-05-18
High Pressure Mercury | 21 |  | 2016-06-15
High Pressure Mercury (Blended) | 23 |  | 2016-07-20
High Pressure Mercury (Halide) | 24 |  | 2016-08-17
High Pressure Mercury (Induction) | 25 |  | 2016-09-21
High Pressure Mercury (Ceramic Discharge Metal Halide) | 26 |  | 2016-10-19
High Pressure Mercury (Metal Arc) | 27 |  | 2016-11-16
Cosmopolis | 28 |  | 2016-12-21
Cold Cathode | 29 |  | 2017-01-18
Low Pressure Mercury (Fluorescent Tube) - Single Lamp | 31
Low Pressure Mercury (Fluorescent Tube) - Twin Lamp (two lamps operated in series on a single ballast) | 32
Low Pressure Mercury (Compact) - Single Lamp | 33
Low Pressure Mercury (Compact) - Twin Lamp (two lamps operated in series on a single ballast) | 34
Low Pressure Mercury (Compact) - Single Lamp | 35
Low Pressure Mercury (Compact) - Single Lamp | 36
Low Pressure Mercury (2D) - Single Lamp | 37
Low Pressure Mercury - Compact Integral Standard
Low Pressure Mercury (Induction) | 39
Light Emitting Diodes (LEDs) | 40
LED Street Lights | 41
Luminescent | 45
Electronic Ballasts | 50
3 lamp vehicle aspect (undimmed)
3 lamp vehicle aspect (dimmed)
2 lamp pedestrian aspect (undimmed)
2 lamp pedestrian aspect ( dimmed)
Wait Signal/Push Button (undimmed)
Controller
Vehicle Detector
Cable less Link Unit (CLU)
Lamp Monitoring Unit (LMU)
Outstation Monitoring Unit (OMU)
Outstation Transmission Unit (OTU)
Detector Power Pack Unit (DPU)
Speed Discrimination Unit (SDU)
Variable Maximum Unit (VMU)
Microprocessor Optimised Vehicle Actuation ( MOVA)
Belisha Beacons
Regulatory or Box Sign
School Crossing
Pole Mounted Responder
Traffic Counter
Speeding / Red Light Camera
Motorway Overhead Gantry
Ticket Machine
Wait Signal/Push Button (dimmed)
Speed Warning Signs
Variable Message Signs
Variable Message Signs (Dimmed)
Vehicle Aspect - Filter lamp (umdimmed)
Vehicle Aspect - Filter lamp (dimmed)
Vehicle Aactivated Sign (Dimmed Activated)
Weather detection/measurement equipment
Supply Cabinet
Audio Equipment
Radio Equipment
Telephone Equipment
Communications equipment
LED Wait signal/Push button (undimmed)
LED 3 lamp vehicle aspect (undimmed)
LED 3 lamp vehicle aspect (dimmed)
LED 2 lamps far side pedestrian aspect (undimmed)
LED 2 Lamps far side pedestrian aspect (dimmed)
LED filter (undimmed)
LED filter (dimmed)
LED Belisha Beacons (undimmed)
LED School Crossings
LED Regulatory Sign Light
LED Belisha Beacons (dimmed)
Pedestrian Detector
Pedestrian Detector with night life
LED pedestrain nearside aspect wait signal/Push Button (undimmed)
LED pedestrain nearside aspect wait signal/Push Button (dimmed)
Continuous Green Aspect (undimmed)
Continuous Green Aspect (LED) (undimmed)
Continuous Green Aspect (dimmed)
Continuous Green Aspect (LED) (dimmed)
AA/RAC Boxes
Advertising Hoardings
Alarm System
Automated Number Plate Recognition System
Automatic Railway Crossing
Battery Charger
Bus Information Systems
Bus Shelter
Cable Network Cabinets
Cathodic Protection
Clock
CMS Equipment
Damp Proof Course
Door Answering Service
Electrical Isolation Device
Fire Warning System
Gas Governors
Gauging Flume
Ice Detector
Illuminated Map Cabinets
Lifting Barrier
Information Systems
Navigation Signal
Pay & Display Machine
People Counter/Traffic Counter
Phone Card Phones
Police Boxes
Pump
Radio Transmitter
Radio Relay Station
Railway Signal
Rain Gauge
Septic Tanks
Sewage Flow Recorder
Storm Overflow
Tannoy Alarm System
Telephone Kiosks
Ticket Machine
Tv Amplifier
TV Camera/Equipment
CCTV Illuminator
Trafficmaster Units
Ventilation Unit
Warden Call Equipment
Warning Bell
Water Level Indicator
WiFi Equipment
Other