## Charge Code
Manufacturer | Manufacturers Designation | Generic LED Codes – Lower Limit | Generic LED Codes – Upper Limit | Date Issued | Date Ended | Date Amended | Amendment Notes
Philips Lighting | 1x Core Pro LED 5W PLS | 4200050000100 | 4200050000100 | 2019-03-20
Philips Lighting | 2x Core Pro LED 5W PLS | 4200100000100 | 4200100000100 | 2019-03-20
TRT Lighting Ltd | LM-330-135-1-63LED | 42 0007 0000 100 | 42 0049 0000 100 | 2019-03-20
TRT Lighting Ltd | LM-330-135-1-63LED CLO | 42 0007 0000 100 | 42 0046 0000 100 | 2019-03-20
Urbis Schreder | 00-30-677 SG 560 - 7600 | 4200030000100 | 4200260000100 | 2019-03-20
Urbis Schreder | 00-30-677 SG 560 - 7600 CLO | 4200030000100 | 4200250000100 | 2019-03-20
Urbis Schreder | 00-53-394 SG 560 - 6800 | 4200040000100 | 4200230000100 | 2019-03-20
Urbis Schreder | 00-53-394 SG 560 - 6800 CLO | 4200040000100 | 4200220000100 | 2019-03-20
Urbis Schreder | 00-36-649 SG 3200 - 26880 | 4200110000100 | 4200800000100 | 2019-03-20
Urbis Schreder | 00-36-649 SG 3200 - 26880 CLO | 4200110000100 | 4200760000100 | 2019-03-20

## Drop downs (hidden)
Description | Code | Status | MDD release dates | Equipment Type
General lighting service filament | 01 | P | 2016-01-20 | Lamps
Tungsten Halogen | 03 |  | 2016-02-17 | Signals
Low Pressure Sodium | 11 |  | 2016-03-16 | Miscellaneous
Low Pressure Sodium (Economy) | 12 |  | 2016-04-20
High Pressure Sodium | 14 |  | 2016-05-18
High Pressure Mercury | 21 |  | 2016-06-15
High Pressure Mercury (Blended) | 23 |  | 2016-07-20
High Pressure Mercury (Halide) | 24 |  | 2016-08-17
High Pressure Mercury (Induction) | 25 |  | 2016-09-21
High Pressure Mercury (Ceramic Discharge Metal Halide) | 26 |  | 2016-10-19
High Pressure Mercury (Metal Arc) | 27 |  | 2016-11-16
Cosmopolis | 28 |  | 2016-12-21
Cold Cathode | 29 |  | 2017-01-18
Low Pressure Mercury (Fluorescent Tube) - Single Lamp | 31
Low Pressure Mercury (Fluorescent Tube) - Twin Lamp (two lamps operated in series on a single ballast) | 32
Low Pressure Mercury (Compact) - Single Lamp | 33
Low Pressure Mercury (Compact) - Twin Lamp (two lamps operated in series on a single ballast) | 34
Low Pressure Mercury (Compact) - Single Lamp | 35
Low Pressure Mercury (Compact) - Single Lamp | 36
Low Pressure Mercury (2D) - Single Lamp | 37
Low Pressure Mercury - Compact Integral Standard
Low Pressure Mercury (Induction) | 39
Light Emitting Diodes (LEDs) | 40
LED Street Lights | 41
Luminescent | 45
Electronic Ballasts | 50
3 lamp vehicle aspect (undimmed)
3 lamp vehicle aspect (dimmed)
2 lamp pedestrian aspect (undimmed)
2 lamp pedestrian aspect ( dimmed)
Wait Signal/Push Button (undimmed)
Controller
Vehicle Detector
Cable less Link Unit (CLU)
Lamp Monitoring Unit (LMU)
Outstation Monitoring Unit (OMU)
Outstation Transmission Unit (OTU)
Detector Power Pack Unit (DPU)
Speed Discrimination Unit (SDU)
Variable Maximum Unit (VMU)
Microprocessor Optimised Vehicle Actuation ( MOVA)
Belisha Beacons
Regulatory or Box Sign
School Crossing
Pole Mounted Responder
Traffic Counter
Speeding / Red Light Camera
Motorway Overhead Gantry
Ticket Machine
Wait Signal/Push Button (dimmed)
Speed Warning Signs
Variable Message Signs
Variable Message Signs (Dimmed)
Vehicle Aspect - Filter lamp (umdimmed)
Vehicle Aspect - Filter lamp (dimmed)
Vehicle Aactivated Sign (Dimmed Activated)
Weather detection/measurement equipment
Supply Cabinet
Audio Equipment
Radio Equipment
Telephone Equipment
Communications equipment
LED Wait signal/Push button (undimmed)
LED 3 lamp vehicle aspect (undimmed)
LED 3 lamp vehicle aspect (dimmed)
LED 2 lamps far side pedestrian aspect (undimmed)
LED 2 Lamps far side pedestrian aspect (dimmed)
LED filter (undimmed)
LED filter (dimmed)
LED Belisha Beacons (undimmed)
LED School Crossings
LED Regulatory Sign Light
LED Belisha Beacons (dimmed)
Pedestrian Detector
Pedestrian Detector with night life
LED pedestrain nearside aspect wait signal/Push Button (undimmed)
LED pedestrain nearside aspect wait signal/Push Button (dimmed)
Continuous Green Aspect (undimmed)
Continuous Green Aspect (LED) (undimmed)
Continuous Green Aspect (dimmed)
Continuous Green Aspect (LED) (dimmed)
AA/RAC Boxes
Advertising Hoardings
Alarm System
Automated Number Plate Recognition System
Automatic Railway Crossing
Battery Charger
Bus Information Systems
Bus Shelter
Cable Network Cabinets
Cathodic Protection
Clock
CMS Equipment
Damp Proof Course
Door Answering Service
Electrical Isolation Device
Fire Warning System
Gas Governors
Gauging Flume
Ice Detector
Illuminated Map Cabinets
Lifting Barrier
Information Systems
Navigation Signal
Pay & Display Machine
People Counter/Traffic Counter
Phone Card Phones
Police Boxes
Pump
Radio Transmitter
Radio Relay Station
Railway Signal
Rain Gauge
Septic Tanks
Sewage Flow Recorder
Storm Overflow
Tannoy Alarm System
Telephone Kiosks
Ticket Machine
Tv Amplifier
TV Camera/Equipment
CCTV Illuminator
Trafficmaster Units
Ventilation Unit
Warden Call Equipment
Warning Bell
Water Level Indicator
WiFi Equipment
Other