## Charge Codes
Nominal Watts | Unit Description 1 | Unit Description 2 | Company | Manufacturer's Designation | Charge Code | Circuit Watts | Dimmed Circuit Watts | Date Issued | End Date | Equipment Type: Lamps; Traffic Equipment; Miscellaneous; Control Equipment; Highway Message and Indicator Signs | Date Amended (This column is used when a change to the equipment description, circuit watts, or anything other than the Charge Code itself is made. | Amendment Notes
12 | Vehicle Detector |  | AGD Systems | 650 DUAL LANE STOP-LINE DETECTOR | 7907012000100 | 12 |  | 2022-10-19 |  | Traffic Equipment
5 | Wi-Fi Equipment |  | Alliot Technologies | Wirnet iStation 868 PDTIOT-ISS04 | 8820005003100 | 5 |  | 2022-10-19 |  | Miscellaneous
2 | CMS Equipment | Zhaga Gateway | Charles Endirect | CEV8974 Gateway | 8170002002100 | 1.6 |  | 2022-10-19 |  | Miscellaneous
1 | Electronic Photocells | Zhaga PECU | Charles Endirect | CEX4000 PECU | 9400010007100 | 0.93 |  | 2022-10-19 |  | Control Equipment
1 | Electronic Controls (e.g. CMS Devices) | Zhaga LCU | Charles Endirect | CEV8975 LCU | 9800010006100 | 0.51 |  | 2022-10-19 |  | Control Equipment
4 | Communications equipment |  | Telent | IMC-574I-SFP-A and FRA036-S48-4-52080E-UK 506R00016U Mode 1 | 7936004004100 | 4.4 |  | 2022-10-19 |  | Traffic Equipment
18 | Speeding/Red Light Camera |  | Truvelo UK | Truvelo VIACAM – VC2000 | 7921018000100 | 18 |  | 2022-10-19 |  | Traffic Equipment
25 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-EB-WB-TX (No Lights) | 8700025003100 | 25 |  | 2022-09-21 |  | Miscellaneous
36 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-IRWL-EB-WB-TX (with Infrared) | 8700036002100 | 36 |  | 2022-09-21 |  | Miscellaneous
33 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-IRWL-EB-WB-TX (with White LED Light) | 8700033001100 | 33 |  | 2022-09-21 |  | Miscellaneous
37 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-IRWL-EB-WB-TX (with Infrared LEDs and White LED Light) | 8700037001100 | 37 |  | 2022-09-21 |  | Miscellaneous
15 | TV Camera/Equipment |  | 360 Vision Technology | INV-32U-B/INV3-32U-B (No Lights) | 8700015001100 | 15 |  | 2021-12-22 |  | Miscellaneous | 2022-09-21 | Updated Manufacturer's Designation
22 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-IRWL-B (with Infrared) | 8700025004100 | 25 |  | 2022-09-21 |  | Miscellaneous
22 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-IRWL-B (with White LED Light) | 8700022001100 | 22 |  | 2022-09-21 |  | Miscellaneous
24 | TV Camera/Equipment |  | 360 Vision Technology | INV3-32U-IRWL-B (with Infrared LEDs and White LED Light) | 8700024002100 | 24 |  | 2022-09-21 |  | Miscellaneous
27 | TV Camera/Equipment |  | 360 Vision Technology | INV-32U-IRWL-B (with Infrared lamps and White LED Lamps) | 8700027002100 | 27 |  | 2022-09-21 |  | Miscellaneous
26 | TV Camera/Equipment |  | 360 Vision Technology | INV-32U-EB-WB-TX (No lights) | 8700026001100 | 26 |  | 2022-09-21 |  | Miscellaneous
38 | TV Camera/Equipment |  | 360 Vision Technology | INV-32U-IRWL-EB-WB-TX (with Infrared lamps and White LED Lamps) | 8700038001100 | 38 |  | 2022-09-21 |  | Miscellaneous

## Drop downs (hidden)
Description | Status | MDD release dates | Equipment Type
General lighting service filament | P | 2016-01-20 | Lamps
Tungsten Halogen |  | 2016-02-17 | Traffic Equipment
Low Pressure Sodium |  | 2016-03-16 | Miscellaneous
Low Pressure Sodium (Economy) |  | 2016-04-20 | Control Equipment
High Pressure Sodium |  | 2016-05-18 | Highway Message and Indicator Signs
High Pressure Mercury |  | 2016-06-15
High Pressure Mercury (Blended) |  | 2016-07-20
High Pressure Mercury (Halide) |  | 2016-08-17
High Pressure Mercury (Induction) |  | 2016-09-21
High Pressure Mercury (Ceramic Discharge Metal Halide) |  | 2016-10-19
High Pressure Mercury (Metal Arc) |  | 2016-11-16
Cosmopolis |  | 2016-12-21
Cold Cathode |  | 2017-01-18
Low Pressure Mercury (Fluorescent Tube) - Single Lamp
Low Pressure Mercury (Fluorescent Tube) - Twin Lamp (two lamps operated in series on a single ballast)
Low Pressure Mercury (Compact) - Single Lamp
Low Pressure Mercury (Compact) - Twin Lamp (two lamps operated in series on a single ballast)
Low Pressure Mercury (Compact) - Single Lamp
Low Pressure Mercury (Compact) - Single Lamp
Low Pressure Mercury (2D) - Single Lamp
Low Pressure Mercury - Compact Integral Standard Gear
Low Pressure Mercury (Induction)
Light Emitting Diodes (LEDs)
LED Street Lights
Luminescent
Electronic Ballasts
Incandescent 3 lamp vehicle aspect (undimmed)
Incandescent 3 lamp vehicle aspect (dimmed)
Incandescent 2 lamp pedestrian aspect (undimmed)
Incandescent 2 lamp pedestrian aspect (dimmed)
Incandescent Wait Signal/Push Button (undimmed)
Controller
Vehicle Detector
Cableless Link Unit (CLU)
Lamp Monitoring Unit (LMU)
Outstation Monitoring Unit (OMU)
Outstation Transmission Unit (OTU)
Detector Power Pack Unit (DPU)
Speed Discrimination Unit (SDU)
Variable Maximum Unit (VMU)
Microprocessor Optimised Vehicle Actuation ( MOVA)
Incandescent Belisha Beacons
Regulatory or Box Sign
School Crossing
Pole Mounted Responder
Traffic Counter
Speeding/Red Light Camera
Motorway Overhead Gantry
Ticket Machine
Wait Signal/Push Button (dimmed)
Speed Warning Signs
Variable Message Signs (undimmed)
Variable Message Signs (dimmed)
Vehicle Aspect - Filter lamp (umdimmed)
Vehicle Aspect - Filter lamp (dimmed)
Vehicle Aactivated Sign (Dimmed Activated)
Weather detection/measurement equipment
Supply Cabinet
Audio Equipment
Radio Equipment
Telephone Equipment
Communications equipment
LED Wait Signal/Push Button (dimmed)
LED Wait Signal/Push Button (undimmed)
LED 3 lamp vehicle aspect (undimmed)
LED 3 lamp vehicle aspect (dimmed)
LED 2 lamp far side pedestrian aspect (undimmed)
LED 2 lamp far side pedestrian aspect (dimmed)
LED filter (undimmed)
LED filter (dimmed)
LED Belisha Beacons (undimmed)
LED School Crossings
LED Belisha Beacons (dimmed)
LED Tram Signal (dimmed)
Pedestrian Detector
Pedestrian Detector with night light
LED 2 lamp nearside pedestrian aspect with/without push-button (undimmed)
LED 2 lamp nearside pedestrian aspect with/without push-button (dimmed)
Continuous Green Aspect (undimmed)
LED Continuous Green Aspect (undimmed)
Continuous Green Aspect (dimmed)
LED Continuous Green Aspect (dimmed)
Pedestrian Countdown Timer (dimmed)
Pedestrian Countdown Timer (undimmed)
LED Box Sign (undimmed)
LED Box Sign (dimmed)
AA/RAC Boxes
Advertising Hoardings
Alarm System
Automated Number Plate Recognition System
Automatic Railway Crossing
Battery Charger
Bus Information Systems
Cable Network Cabinets
Cathodic Protection
Control Host
Clock
CMS Equipment
Damp Proof Course
Door Answering Service
Electrical Isolation Device
Fire Warning System
Gas Governors
Gauging Flume
Weather detection/measurement equipment
Illuminated Map Cabinets
Lifting Barrier
Information Systems
Navigation Signal
Pay & Display Machine
People Counter/Traffic Counter
Phone Card Phones
Police Boxes
Pump
Radio Transmitter
Radio Relay Station
Railway Signal
Rain Gauge
Septic Tanks
Sewage Flow Recorder
Storm Overflow
Tannoy Alarm System
Telephone Kiosks
Ticket Machine
TV Amplifier
TV Camera/Equipment
CCTV Illuminator
Traffic master Units
Ventilation Unit
Warden Call Equipment
Warning Bell
Water Level Indicator
Wi-Fi Equipment
Other
Electric Vehicle Charging Point