## Sheet1
[6 empty] | Compliance | [6 empty] | Protocol
No. | Manufacturer | Model | Meter Type | (See Note 7) Outstations with a fixed Pulse Mulitplier of 1 | (See Note 6) REC EMDS Data Item DI50222 (DTC Data Item J0471) 'Outstation Type' | CoP1 | CoP2 | CoP3 | CoP5 | CoP6 | CoP7 | CoP10 | IMServ Europe Ltd (UKDC) | Metering Services Ltd (MIDE) | Npower Commercial Gas Limited (NATP) | Scottish & Southern Energy Plc (HYDE) | Siemens Managed Applications & Services (DASL, SIEM) | SP Dataserve Ltd (SPOW) | Stark Software International Ltd (SSIL) | TMA Data Management (ACCU, BMET, UDMS) | SMS Energy Services Limited (UPLH) | BT Plc (BTUK) | Callisto Data Limited (MDSL) | ASL Holdings Ltd (ASLH) | The Energy Solutions Group (TESG) | Energy Assets (EAHH)
[6 empty] | Latest Issue | Latest Issue | Latest Issue | Latest Issue | Latest Issue | Latest Issue | Latest Issue
[6 empty] | Issue 3 (see note 8) | Issue 5 (see note 8) | Issue 6 (see note 8) | Issue 7 (see note 8) | Issue 4 | Issue 2 | Issue 3 (see note 8)
[6 empty] | 2022-06-30 | 2022-06-30 | 2022-06-30 | 2022-06-30 | 2021-09-01 | 2021-09-01 | 2022-06-30 | HHDC & CDCA | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC
1 | ELSTER | PPM Issue 1 | PM2 and PM3 |  | GP1 |  |  | Issue 2 | Issue 4 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-04-22 | 1997-04-22 |  |  |  | 2005-02-01 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 |  | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
2 | ELSTER | PPM Issue 2 | PM2 and PM3 |  | GP2 |  |  | Issue 2 | Issue 4 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-04-22 | 1997-04-22 |  |  |  | 2005-02-01 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 |  | 2010-12-07 |  |  |  | 2021-07-28 | 2021-12-02
3 | PRI Ltd/Secure Meters (UK) Ltd | Calmu 3+ | Calmu 3+ |  | CMU |  |  | Issue 3 | Issue 4 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-08-05 | 1997-08-05 |  |  |  | 2005-02-01 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 |  | 2010-12-07 |  |  |  | 2021-07-28 | 2021-12-02
4 | Actaris | Indigo + | P5A |  | INP |  |  | Issue 3 | Issue 4 | [9 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-09-29 | 1997-09-29 |  |  |  | 2005-02-01 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
5 | Horstmann | Intacom 3 | NU098 |  | H13 |  |  |  |  | Issue 4 | [8 empty] | Stark Reality v7.18c on Windows 7
[10 empty] | 1999-07-12 |  |  | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12
6 | Actaris | Indigo + | P6A |  | IN6 |  |  |  |  | Issue 4 | [8 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[10 empty] | 1999-07-12 |  |  | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
7 | PRI Ltd/Secure Meters (UK) Ltd | Sprint XP | S*DXP |  | SPN |  |  |  | Issue 6 |  |  | Issue 1/2 | [6 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021
[9 empty] | 2009-07-20 |  |  | 2009-07-20 | 2005-02-01 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04
8 | PRI Ltd/Secure Meters (UK) Ltd | Premier | P3**** |  | PRM |  | Issue 3 (see note 2) | Issue 5 | Issue 6 |  |  | Issue 2 | [6 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 | Connexo v10.8.29 on Windows Server (Protocol version 2015-11-13) |  |  | MDR v3.4 | MDR v3.4
[7 empty] | 2006-07-19 | 2006-07-19 | 2000-02-24 |  |  |  | 2005-02-01 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 |  | 2001-01-04 |  |  |  | 2021-07-28 | 2021-12-02
[7 empty] | 2006-07-13 | 2006-07-13 | 2009-07-20 |  |  | 2009-07-20 | 2005-02-01 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 |  | 2010-12-07 |  |  |  | 2021-07-28 | 2021-12-02
9 | ELSTER | A1700 (Vision)/A1700i | PB3 & PB2 (see note 10) Firmware versions: 2-01148, 2-01148-AB, 2-01308-A, 2-01333-B/E/H/J/L/M/N/O/P/Q and 2-02004-A/B/C/D | Yes | VIS |  | Issue 4/5 04/09/2009 06/12/2023 | Issue 5/6 21/02/2006 06/12/2023 | Issue 6/7 24/02/2000 06/12/2023 |  |  |  | EIServer 8.11 on Windows 01/02/2005 | 2000-05-18 | 2000-05-18 | 2000-05-18 | 2000-05-18 | 2000-05-18 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 07/12/2010 | Connexo v10.8.29 on Windows Server (Protocol version 2019-11-28) | BTUK Metering Data Collection System Version: 0.82.0-RELEASE 17/03/2021 |  | MDR v3.4 | MDR v3.4 | Connexo v10.8 21/01/2022
[24 empty] | 2021-07-28 | 2021-12-02
10 | ELSTER | OPUS | Outstation |  | GOP | Issue 1 (see note 3) | Issue 1 | Issue 1 | [10 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
11 | Kenda/NGC | OSME | Outstation |  | OSM | Issue 1 (see note 3) | Issue 1 | Issue 1 | [10 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
12 | Kenda/NGC | CM10 | Outstation |  | C10 | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 |  | 2001-03-27
13 | Kenda/NGC | CM11 | Outstation |  | C11 | Issue 1 (see note 3) | Issue 1 | Issue 1 | [10 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 |  | 2001-03-27
14 | Baydel/NGC | MITRE | Outstation |  | MIT | Issue 1 (see note 3) | Issue 1 | Issue 1 | [10 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
15 | Kenda | MEDO | Outstation |  | KME | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
16 | Kenda | METEOR | Outstation |  | KMO | Issue 1/2 (see note 3) | Issue 1/4 | Issue 1 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[6 empty] | 2008-11-06 | 2008-11-06 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
17 | Landis & Gyr | FCL-1 | Outstation |  | FCL | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
18 | Landis & Gyr | FAF21 | Outstation |  | FAF | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
19 | Landis & Gyr | FAF22 | Outstation |  |  | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
20 | Electricity de France | N/A | N/A |  | N/A | pre Issue 1 | [12 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 1990-03-30 | [6 empty] | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30
21 | CEWE | Prometer | Prometer |  | CEW |  | Issue 3 (see note 3) | Issue 5 | Issue 6 |  |  |  | EIServer 8.7 on Windows XP, SP3 08/03/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[7 empty] | 2001-03-27 | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
22 | PRI Ltd/Secure Meters (UK) Ltd | Calmu 3 | Calmu 3 |  | CMU |  |  | Issue 5 | Issue 6 | [9 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2005-02-01 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
23 | PRI Ltd/Secure Meters (UK) Ltd | Calmu Link | Calmu Link |  | CLK |  |  | Issue 5 | Issue 6 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
24 | ELSTER | OPUS 5 | Outstation |  | GOP |  |  | Issue 5 | Issue 6 |  |  |  | EIServer 8.7 on Windows XP, SP3 13/10/2008 | [5 empty] | Stark Reality v7.18c on Windows 7
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
25 | Actaris | PXAR | PXAR |  | PXA |  |  | Issue 5 | Issue 6 | [9 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
26 | Siemens | S4S | S4S |  | S4S |  |  | Issue 5 | Issue 6 | [9 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
27 | Westinghouse | Sprite | Outstation |  | SPR |  |  | Issue 5 | Issue 6 | [9 empty] | Stark Reality v7.18c on Windows 7
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
28 | NGL Limited | Minimate | Outstation |  | NGL |  |  | Issue 5 | Issue 6 | [9 empty] | Stark Reality v7.18c on Windows 7
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
29 | Siemens | CM32 | CM32 version 3.6 |  | C32 | Issue 1 (see note 3) | Issue 3 (see note 3) | [11 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 2001-06-05 | 2001-06-05 | [5 empty] | 2001-06-05 | 2001-06-05 | 2001-06-05 | 2001-06-05 | 2001-06-05 |  | 2001-06-05
30 | Iskraemeco | Poreg | Outstation |  | POR | Issue 1 (see note 3) | Issue 3 (see note 3) | [11 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 2001-06-20 | 2001-06-20 | [5 empty] | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20
31 | Siemens Metering Services | CM32 | CM32 version 4.5 |  | C32 | Issue 1/2 (see note 3 & 5) | Issue 1/2/3/4 (see note 3 & 5) | [11 empty] | Stark Reality v7.18c on Windows 7
[6 empty] | 2008-06-24 | 2008-06-24 | [5 empty] | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14
32 | Siemens | n/a | Quad 4 Plus (outstation SQ4) |  | QD4 | Issue 1 (see note 3) | Issue 3 (see note 3) | Issue 5 | Issue 6 |  |  |  | EIServer 8.7 on Windows XP, SP3
[6 empty] | 2005-04-01 | 2005-04-01 | 2005-04-01 | 2005-04-01 |  |  |  | 2008-10-14
33 | Siemens Datacare | n/a | ZMU 202 C |  | ZMU | Issue 1 (see note 3) | Issue 3 (see note 3) | Issue 5 | Issue 6
[6 empty] | 2005-04-01 | 2005-04-01 | 2005-04-01 | 2005-04-01
34 | Landis & Gyr | n/a | FAG10 |  | FAG | Issue 1 (see note 3) | Issue 3 (see note 3) | Issue 5 | Issue 6 |  |  |  | EIServer 8.7 on Windows XP, SP3
[6 empty] | 2005-04-01 | 2005-04-01 | 2005-04-01 | 2005-04-01 |  |  |  | 2008-10-13
35 | CEWE | n/a | CEP |  | CEP | Issue 1 (see note 3)
1994-01-10
36 | CEWE | n/a | CEQ |  | CEQ | Issue 1 (see note 3)
1994-01-10
37 | Actaris | ACE6000 | 665 |  | AC6 |  |  | Issue 5 | Issue 6 | [8 empty] | MDR v3.4 18/05/2023 | Stark Reality v7.18c on Windows 7 03/07/2007 | MDR v3.4 07/12/2010 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2006-11-03 | 2006-11-03 | [14 empty] | 2021-07-28 | 2021-12-02
38 | CEWE | Prometer | R & W (see note 10) Firmware v1.4.x | Yes | CP2 | Issue 2 (see note 4) | Issue 4 (see note 4) | Issue 5 (see note 4) | Issue 6 (see note 4) |  |  |  | EIServer 8.7 on Windows XP, SP3 28/07/2011 |  | 2011-08-08 |  | MV90 Xi v2 16/03/2013 | MDR v1.4.0.17 on Windows XP 03/04/2008 | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 05/12/2011 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
|  |  | Firmware v2.0.x | Yes |  | Issue 2 | Issue 4 | Issue 5 | Issue 6
[6 empty] | 2009-01-12 | 2009-01-12 | 2009-01-12 | 2009-01-12
|  |  | Firmware v2.1.x, v3.0.x, v3.1.x,3.4.x & 3.5.x | Yes |  | Issue 2 | Issue 4 | Issue 5 | Issue 6
[6 empty] | 2011-07-28 | 2011-07-28 | 2011-07-28 | 2011-07-28
39 | EDMI |  | Mk10-1, 2 and 3 Firmware v1.19 | Yes | E10 |  |  | Issue 5/6 04/01/2008 21/10/2022 | Issue 6/7 04/01/2008 21/10/2022 |  |  | Issue 1/3 26/02/2009 21/10/2022 | EIServer 8.7 on Windows XP, SP3 16/03/2009 | MV90xi v2, Windows 7 25/05/2016 | Eziview v4.05 & MV90 XI v2.0 04/01/2008 & 25/05/2010 |  | MV90 Xi v2 16/03/2013 | MDR v1.5.0.4 on Windows XP 20/11/2009 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 05/11/2012 | Connexo v10.8.29 on Windows Server (Protocol version 2022-08-04) |  | Connexo v10.8 13/05/2021 | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021 | Connexo v10.8 21/01/2022
|  |  | Mk10-3, 4 Firmware v1.36 | Yes |  |  |  | Issue 5/6 06/07/2009 21/10/2022 | Issue 6/7 06/07/2009 21/10/2022 |  |  | Issue 1/2/3 25/06/2009 21/10/2022
|  |  | Mk10 Firmware v1.19, v1.36, v1.366, v1.367 & v1.416 | Yes |  |  |  | Issue 5/6 06/07/2009 21/10/2022 | Issue 6/7 06/07/2009 21/10/2022 |  |  | Issue 1/2/3 25/06/2009 21/10/2022
|  |  | Mk10A Firmware v1.366, v1.367, v1.416, v1.417 & v1.41/1016086 | Yes |  |  |  | Issue 5/6 28/02/2011 21/10/2022 | Issue 6/7 28/02/2011 21/10/2022 |  |  | Issue 2/3 28/02/2011 21/10/2022
[9 empty] | 2011-02-28 |  |  | 2011-02-28
|  |  | Mk7B Firmware v1.45, v1.505, v2.910, v2.911 & v2.912 | Yes | [7 empty] | Issue 2/3 05/01/2016 21/10/2022
|  |  | Mk10D Firmware v1.29, v1.36, v1.366,v1.367, v1.416, v1.417, v1.43, v1.45, v1.464 & v1.41/1016086 | Yes |  |  |  |  | Issue 6/7 28/02/2011 21/10/2022 |  |  | Issue 1/2/3 25/06/2009 21/10/2022
|  |  | Mk10E Firmware v1.416, v1.417, & v1.41/1016141 | Yes |  |  | Issue 4/5 03/08/2011 21/10/2022 | Issue 5/6 28/02/2011 21/10/2022 | Issue 6/7 28/02/2011 21/10/2022 |  |  | Issue 2/3 28/02/2011 21/10/2022
|  |  | Mk10E Firmware v1.366 & v1.41/1016141 | Yes |  |  |  | Issue 5/6 28/02/2011 21/10/2022 | Issue 6/7 28/02/2011 21/10/2022 |  |  | Issue 2/3 28/02/2011 21/10/2022
|  |  | Mk7A Firmware v1.366, v1.367, v1.416, v1.417, & v1.41/1016086 | Yes | E07 (Note 9) | [6 empty] | Issue 2/3 28/02/2011 21/10/2022 | [6 empty] | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 |  | Connexo v10.8.29 on Windows Server (Protocol version 2022-08-04) |  | Connexo v10.8 13/05/2021 |  |  | Connexo v10.8 21/01/2022
|  |  | Mk7C Firmware v1.29, v1.36, v1.366, v1.367, v1.416, v1.417 & v1.41/1016086 | Yes | [7 empty] | Issue 1/2/3 25/06/2009 21/10/2022
40 | Landis + Gyr | E650 | ZMD405, ZMD410, ZFD405 & ZFD410 Firmware version B24 |  | ZMD |  |  | Issue 5 16/12/2008 | Issue 6 16/12/2008 |  |  |  | EIServer 8.7 on Windows XP, SP3 29/01/2009 |  | Itron EE (IEE) MDM version 10 and TIM_ZMD 121021 3.1.20.6. |  | MV90 xiComm v6.2.0.15 using TIM_ZMD.dll v3.1.20.8 on Windows Server 2016 Standard run under VMware esxi 6.7 | MDR v3.4 18/05/2023 | Stark Reality v8.77.22.0 on Windows 10 15/08/2022 | MDR v3.4 07/12/2010 | Connexo v10.8.29 on Windows Server (Protocol version 2021-08-13) |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
41 | ELSTER |  | A1140 (see note 10) Firmware v 2-01178-N/P/Q, 2-01322-H/J/K/L, 2-01340-D/E/G/H, 2-01345-A, and 2-01398-A | Yes | A11 | [6 empty] | Issue 1/2 25/06/2009 | EIServer 8.7 on Windows XP, SP3 16/07/2009 | MV90xi v2, Windows 7, 28/10/2015 | MV90Xi2 with TIM 4.0.0.7 on Windows XP SP3 13/01/2012 |  | MV90 Xi v 11.3 Win 7 Pro 15/10/2015 | Windows XP MDR v1.5.0.4 17/07/2009 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 07/12/2010 | Connexo v10.8.29 on Windows Server (Protocol version 2021-12-02) | BT UK Metering Data Collection System v0.82.0-RELEASE 17/03/2021 |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021 | Connexo v10.8 21/01/2022
|  |  | A1160 Firmware v 2-01397-G | Yes | [7 empty] | Issue 2 23/10/2014 | [6 empty] | Stark Reality v7.18c on Windows 7 28/10/2015
|  |  | AS3000 Firmware v 10.02 | Yes | [7 empty] | Issue 2 12/11/2014
|  |  | AS230 Firmware v 2-01331-J/K/L/M/N | Yes | A23 | [6 empty] | Issue 1/2 25/06/2009 | EIServer 8.7 on Windows XP, SP3 16/07/2009 |  |  |  | MV90xi, Windows 7 Enterprise, 07/06/2016 | Windows XP MDR v1.5.0.4 17/07/2009 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 07/12/2010 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021 | Connexo v10.8 21/01/2022
42 | Iskraemeco |  | MT375 Firmware v 035.000.221.004/5 | Yes | IMT |  |  | Issue 5 04/09/2009 | Issue 6 04/09/2009 |  |  | Issue 2 04/09/2009 | EIServer 8.11 on Windows 08/03/2019 | [5 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 |  | Connexo v10.8.29 on Windows Server (Protocol version 2019-11-06)
43 | Landis+Gyr | E850 | ZMQ202, ZMQ205, ZFQ202 & ZFQ205 Firmware version H03 |  | ZMQ | Issue 2/3 21/01/2010 06/03/2023 | Issue 4/5 21/01/2010 06/03/2023 | [5 empty] | EIServer 8.7 on Windows XP, SP3 21/01/2010 |  |  |  | MV90 xiComm v6.2.0.15 using TIM_ZMD.dll v3.1.20.8 on Windows Server 2016 Standard run under VMware esxi 6.7 | MDR v3.4 09/03/2023 |  | MDR v3.4 09/03/2023 | Connexo v10.8.29 on Windows Server (Protocol version 2021-08-13) |  |  | MDR v3.4 09/03/2023 | MDR v3.4 09/03/2023
44 | EDMI |  | Mk6E Firmware version 3.381 | Yes | E06 | Issue 2 28/01/2010 | Issue 4 28/01/2010 | [5 empty] | EIServer 8.7 on Windows XP, SP3 28/01/2010
45 | Schneider Electric |  | ION 7550, 7650 Firmware v356 |  | IO1 | Issue 2 12/11/2010 | Issue 4 12/11/2010 | Issue 5 12/11/2010 |  |  |  |  | EIServer 8.11 on Windows 12/11/2010
46 | Schneider Electric |  | ION 8800 Firmware v335 |  |  | Issue 2 12/11/2010 | Issue 4 12/11/2010 | Issue 5 12/11/2010 |  |  |  |  | EIServer 8.7 on Windows XP, SP3 12/11/2010
47 | Kenda | Nebula | Outstation Firmware v1.1 |  | KMO | Issue 2/3 11/11/2010 30/06/2022 | Issue 4/5 11/11/2010 30/06/2022 | [5 empty] | EIServer 8.7 on Windows XP, SP3 11/11/2010
48 | Secure Meters (UK) Ltd | Sprint 200 | SPD0B2 |  | SPN | [6 empty] | Issue 2 28/07/2011 | EIServer 8.7 on Windows XP, SP3 28/07/2011
49 | Landis+Gyr | E650 | ZMD410CT44.xxx7 S3, S4 ZMD410CT44.xxx9 S3, S4 ZFD410CT44.xxx7 S3, S4, ZFD410CT44.xxx9 S3, S4 Firmware Version: B31 , B32 & B40 |  | ZMD |  |  | Issue 5/6 08/01/2013 24/08/2022 | Issue 6/7 08/01/2013 24/08/2022 |  |  | Issue 2/3 08/01/2013 24/08/2022 | EIServer 8.7 on Windows XP, SP3 21/01/2010 |  | Itron EE (IEE) MDM version 10 and TIM_ZMD 121021 3.1.20.6. |  | MV90 xiComm v6.2.0.15 using TIM_ZMD.dll v3.1.20.8 on Windows Server 2016 Standard run under VMware esxi 6.7 | MDR v3.4 18/05/2023 | Stark Reality v8.77.22.0 on Windows 10 15/08/2022 | MDR v3.4 05/11/2012 | Connexo v10.8.29 on Windows Server (Protocol version 2021-08-13) |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
| Landis+Gyr | E650 | ZMD310CT44.xxx7 S3a, S4 ZMD310CT44.xxx9 S3a, S4 Firmware Version: B31, B32 & B40 | [5 empty] | Issue 6/7 08/01/2013 24/08/2022 |  |  | Issue 2/3 08/01/2013 24/08/2022
| Landis+Gyr | E650 | ZMD405CT44.xxx7 S3, S4 ZMD405CT44.xxx9 S3, S4, ZFD405CT44.xxx7 S3, S4 ZFD405CT44.xxx9 S3, S4, Firmware Version: B31, B32 & B40 |  |  |  | Issue 4/5 08/01/2013 24/08/2022 | Issue 5/6 08/01/2013 24/08/2022 | Issue 6/7 08/01/2013 24/08/2022 |  |  | Issue 2/3 08/01/2013 24/08/2022
| Landis+Gyr | E650 | ZMD402CT44.0457 S3, S4 ZMD402CT44.0459 S3, S4 ZFD402CT44.0457 S3, S4 ZFD402CT44.0459 S3, S4 ZMD402CT44.0467 S3, S4 ZMD402CT44.0469 S3, S4 ZFD402CT44.0467 S3, S4 ZFD402CT44.0469 S3, S4 Firmware Version: B31, B32 & B40 |  |  | Issue 2/3 08/01/2013 24/08/2022 | Issue 4/5 08/01/2013 24/08/2022 | Issue 5/6 08/01/2013 24/08/2022 | Issue 6/7 08/01/2013 24/08/2022 |  |  | Issue 2/3 08/01/2013 24/08/2022
50 | Kaifa Technology Co Ltd | MA110 | 050502150211, 050206150211 |  | KRJ | [6 empty] | Issue 2 4/05/2016
| Kaifa Technology Co Ltd | MA309 | 260306160301, 060300160301 |  | KRJ | [6 empty] | Issue 2 4/05/2016
51 | EM-Lite Ltd | EMA1 | EMA1.ay/az/w/x/y/z Firmware Version: v3.03-2, v3.04-0, v3.04-2 & v3.04-5 (CoP10 Issue 3) Software Version: v3.20-4 | Yes | EM1 | [6 empty] | Issue 2/3 9/10/2020 25/10/2022 | [5 empty] | MDR v3.4 18/05/2023 | Stark Reality v8.66.42.0 on Windows 10 29/11/2021 | MDR v3.4 19/03/2021 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
|  | EMB1 | EMB1.ay/w/x/y/z Firmware Version: v3.04-5 Software Version: v3.20-4 | [8 empty] | Issue 3 01/06/2023
52 | Secure Meters (UK) Ltd | Prometer 100 | P3E and R3E Firmware Versions: Metering (v32-00); Application or CLEM (M6X8G05 & M6X8G0B); and DLMS (M6XXG03) |  | PRO | Issue 2/3 09/03/2022 30/06/2022 | Issue 4/5 09/03/2022 30/06/2022 | Issue 5/6 09/03/2022 30/06/2022 | Issue 6/7 09/03/2022 30/06/2022 |  |  | Issue 2/3 09/03/2022 30/06/2022 | EIServer 8.11 on Windows (CPC Protocol Version 2022-01-17) 09/03/2022 | [5 empty] | Stark Reality v8.96.5.0 on Windows 10 08/12/2023
53 | EM-Lite Ltd | EMP1 | EMP1.ax/ay/r/w/x Firmware Versions: v1.06.5, v1.06.6, v1.07.6 & v1.07.9 | Yes | EM2 | [6 empty] | Issue 2/3 10/11/2021 30/06/2022 | [5 empty] | MDR v3.4 30/03/2022 | Stark Reality v8.71.69.0 on Windows 10 31/03/2022 | MDR v3.4 30/03/2022 (UDMS only) |  |  |  | MDR v3.4 30/03/2022
54 |  |  | EMP1.cr/cw/cx Firmware Versions: v2.00.7 & v2.00.8 | Yes |  |  |  |  | Issue 7 29/06/2023 |  |  | Issue 3 01/06/2023
55 | MetCom Solution |  | MCS301 | Yes |  |  | Issue 5 19/12/2023 | Issue 6 19/12/2023 | Issue 7 19/12/2023 |  |  | Issue 3 19/12/2023
| The following Meter types are included for the purposes only of providing an Outstation type for use in the Retail Energy Code (REC) Energy Market Data Specification (EMDS) data item DI50222 'Outstation Type' (DTC Data Item J0471): | [7 empty] | Blue text in this document denotes the most recent changes
| Elster |  | AS1440 Firmware v 2-01322-H |  | A14
Compliance and Protocol approvals List V77.0
Notes
1) Not used
2) Premier has dispensation (D334) so that it can be installed in COP2 installations up to 31 July 2006.
3) ISG has approved dispensation (D339) which allows this Metering Equipment type to be installed until 23 February 2008 (and will continue to be applicable for the life time of the Metering System). For new Metering System registrations after this date, Metering Equipment will be subject to compliance with the current issue of the relevant Code of Practice.
4) Prometer R & W with the firmware package versions listed in this row of the table are subject to dispensation D340.
5) ISG has approved dispensation (D344) which allows this Metering Equipment type to be used for all issues of CoP1 and CoP2 up to and including CoP1 Issue 2 and CoP2 Issue 4.
6) These Outstation codes will become effective from 4 November 2010 (CP1315)
7) For SVA purposes. Only Outstations that have been identified as having a fixed pulse multiplier of 1 may be exempt from a SVA proving test in accordance with the Metering Operations Schedule of the Retail Energy Code and BSCP502.
8) Metering Dispensation D/535 allows Meters and Outstations that are compliant with CoP1 Issue 2, CoP2 Issue 4, CoP3 Issue 5, CoP5 Issue 6 or CoP10 Issue 2 to continue to be installed and registered for Settlement from 30 June 2022 until 30 December 2023 against CoP1 Issue 3, CoP2 Issue 5, CoP3 Issue 6, CoP5 Issue 7 and CoP10 Issue 3.
9) On 25 August 2022 EMDI Europe Limited confirmed to Elexon that "all the Meter types in the Atlas range, as listed under the 'Outstation-ID E07 and E10', use a common communications protocol. Therefore, testing and validation of one of our Meter types for Settlement functionality will be valid and representative of all our other Meter types". As a result of this confirmation, if an HHDC conducted Protocol Testing using a particular Meter type and was only granted Protocol Approval for that particular Meter type, and wishes to collect data from other Meter types in the Atlas range listed, the HHDC can apply for Protocol Approval for other Meter types they wish to collect Settlement data from, by applying under BSCP601. Witness testing for Settlement functionality will not be required. We recommend HHDC's carry out their own testing on those Meter types to confirm non-Settlement functionality can be collected and handled appropriately. Outstation ID E07 will not be changed to E10 as a result of this confirmation.
10) The Prometer R & W, A1700 and A1140 are subject to a lifetime generic Metering Dispensation (D/565) (when installed and registered for Settlement up to (and including) 30 December 2024), subject to additional parts of a condition. You can find more information about the complete condition related to D/565 on the Statement of Generic Metering Dispensations.
Note: CoP5 Issue 6 compliances refer to communications by means of interrogation unless otherwise stated. Protocols for use with CoP5 Issue 6 compliant metering applies to communications by means of interrogation unless otherwise stated.
CoP4 Sample Calibrations
| Meter Type | Sample Calibration Year
|  | 2010 | 2011 |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
| Prometer R/W (Registered against CoP1 or 2) | ü | ü | bar: 2012 to 2014
Prometer R/W (Registered against CoP3, 5 , 6 or 7) | bar: 2015 to 2019
This table shows which Meters Types require Sample Calibrations in the indicated year in accordance with CoP4 Section 5.2