## Sheet1
[6 empty] | Compliance | [6 empty] | Protocol
No. | Manufacturer | Model | Meter Type | (See Note 7) Outstations with a fixed Pulse Mulitplier of 1 | (See Note 6) REC EMDS | CoP1 | CoP2 | CoP3 | CoP5 | CoP6 | CoP7 | CoP10 | IMServ Europe Ltd (UKDC) | Metering Services Ltd (MIDE) | Npower Commercial Gas Limited (NATP) | Scottish & Southern Energy Plc (HYDE) | Siemens Metering Services (DASL, SIEM) | SP Dataserve Ltd (MANW, SPOW) | Stark Software International Ltd (SSIL) | TMA Data Management (ACCU, BMET, UDMS) | SMS Energy Services Limited (UPLH) | BT Plc (BTUK) | Callisto Data Limited (MDSL) | ASL Holdings Ltd (ASLH) | The Energy Solutions Group (TESG) | Energy Assets (EAHH)
[5 empty] | Data Item DI50222 (DTC Data Item J0471) | Latest Issue | Latest Issue | Latest Issue | Latest Issue | Latest Issue | Latest Issue | Latest Issue
[5 empty] | 'Outstation Type' | Issue 3 (see note 8) | Issue 5 (see note 8) | Issue 6 (see note 8) | Issue 7 (see note 8) | Issue 4 | Issue 2 | Issue 3 (see note 8)
[6 empty] | 2022-06-30 | 2022-06-30 | 2022-06-30 | 2022-06-30 | 2021-09-01 | 2021-09-01 | 2022-06-30 | HHDC & CDCA | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC | HHDC
1 | ELSTER | PPM Issue 1 | PM2 and PM3 |  | GP1 |  |  | Issue 2 | Issue 4 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-04-22 | 1997-04-22 |  |  |  | 2005-02-01 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 |  | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
2 | ELSTER | PPM Issue 2 | PM2 and PM3 |  | GP2 |  |  | Issue 2 | Issue 4 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-04-22 | 1997-04-22 |  |  |  | 2005-02-01 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 | 1997-04-22 |  | 2010-12-07 |  |  |  | 2021-07-28 | 2021-12-02
3 | PRI Ltd/Secure Meters (UK) Ltd | Calmu 3+ | Calmu 3+ |  | CMU |  |  | Issue 3 | Issue 4 | [9 empty] | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-08-05 | 1997-08-05 |  |  |  | 2005-02-01 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 |  | 2010-12-07 |  |  |  | 2021-07-28 | 2021-12-02
4 | Actaris | Indigo + | P5A |  | INP |  |  | Issue 3 | Issue 4 | [9 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 1997-09-29 | 1997-09-29 |  |  |  | 2005-02-01 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
5 | Horstmann | Intacom 3 | NU098 |  | H13 |  |  |  |  | Issue 4 | [8 empty] | Stark Reality v7.18c on Windows 7
[10 empty] | 1999-07-12 |  |  | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12
6 | Actaris | Indigo + | P6A |  | IN6 |  |  |  |  | Issue 4 | [8 empty] | Stark Reality v7.18c on Windows 7 | MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[10 empty] | 1999-07-12 |  |  | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 1999-07-12 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
7 | PRI Ltd/Secure Meters (UK) Ltd | Sprint XP | S*DXP |  | SPN |  |  |  | Issue 6 |  |  | Issue 1/2 | 1999-07-12: Stark Reality v8.66.42.0 on Windows 10 16/12/2021
[9 empty] | 2009-07-20 |  |  | 2009-07-20 | 2005-02-01 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04
8 | PRI Ltd/Secure Meters (UK) Ltd | Premier | P3**** |  | PRM |  | Issue 3 (see note 2) | Issue 5 | Issue 6 |  |  | Issue 2 | 1999-07-12: Stark Reality v8.66.42.0 on Windows 10 16/12/2021; 2012-11-05: MDR v3.4 | Connexo v10.8.29 on Windows Server |  |  | MDR v3.4 | MDR v3.4
[7 empty] | 2006-07-19 | 2006-07-19 | 2000-02-24 |  |  |  | 2005-02-01 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 |  | 2001-01-04 |  |  |  | 2021-07-28 | 2021-12-02
[7 empty] | 2006-07-13 | 2006-07-13 | 2009-07-20 |  |  | 2009-07-20 | 2005-02-01 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 | 2001-01-04 |  | 2010-12-07 |  |  |  | 2021-07-28 | 2021-12-02
9 | ELSTER | A1700 (Vision)/A1700i | PB3 & PB2 Firmware versions: 2-01148, 2-01148-AB, 2-01308-A, 2-01333-B/E/H/J/L/M/N/O/P/Q and 2-02004-A/B/C/D | Yes | VIS |  | Issue 4 04/09/2009 | Issue 5 21/02/2006 | Issue 6 24/02/2000 |  |  |  | EIServer 8.11 on Windows 01/02/2005 | 2000-05-18 | 2000-05-18 | 2000-05-18 | 2000-05-18 | 2000-05-18 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 07/12/2010 | EIServer v8.9.27 (Protocol version 2010-12-16) on Windows 2003 16/04/2012 | BTUK Metering Data Collection System Version: 0.82.0-RELEASE 17/03/2021 |  | MDR v3.4 | MDR v3.4 | Connexo v10.8 21/01/2022
[24 empty] | 2021-07-28 | 2021-12-02
10 | ELSTER | OPUS | Outstation |  | GOP | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 1999-07-12: Stark Reality v7.18c on Windows 7; 2012-11-05: MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
11 | Kenda/NGC | OSME | Outstation |  | OSM | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
12 | Kenda/NGC | CM10 | Outstation |  | C10 | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 |  | 2001-03-27
13 | Kenda/NGC | CM11 | Outstation |  | C11 | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 |  | 2001-03-27
14 | Baydel/NGC | MITRE | Outstation |  | MIT | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
15 | Kenda | MEDO | Outstation |  | KME | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
16 | Kenda | METEOR | Outstation |  | KMO | Issue 1/2 (see note 3) | Issue 1/4 | Issue 1 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7; 2012-11-05: MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[6 empty] | 2008-11-06 | 2008-11-06 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
17 | Landis & Gyr | FCL-1 | Outstation |  | FCL | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
18 | Landis & Gyr | FAF21 | Outstation |  | FAF | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
19 | Landis & Gyr | FAF22 | Outstation |  |  | Issue 1 (see note 3) | Issue 1 | Issue 1 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1994-01-10 | 1994-01-10 | 1994-01-10 |  |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
20 | Electricity de France | N/A | N/A |  | N/A | pre Issue 1 | [6 empty] | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 1990-03-30 | [6 empty] | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30 | 1990-03-30
21 | CEWE | Prometer | Prometer |  | CEW |  | Issue 3 (see note 3) | Issue 5 | Issue 6 |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 08/03/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[7 empty] | 2001-03-27 | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
22 | PRI Ltd/Secure Meters (UK) Ltd | Calmu 3 | Calmu 3 |  | CMU |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7; 2012-11-05: MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2005-02-01 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
23 | PRI Ltd/Secure Meters (UK) Ltd | Calmu Link | Calmu Link |  | CLK |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v8.66.42.0 on Windows 10 16/12/2021
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
24 | ELSTER | OPUS 5 | Outstation |  | GOP |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 13/10/2008; 2001-03-27: Stark Reality v7.18c on Windows 7
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
25 | Actaris | PXAR | PXAR |  | PXA |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7; 2012-11-05: MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
26 | Siemens | S4S | S4S |  | S4S |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7; 2012-11-05: MDR v3.4 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2012-11-05 |  |  |  | 2021-07-28 | 2021-12-02
27 | Westinghouse | Sprite | Outstation |  | SPR |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
28 | NGL Limited | Minimate | Outstation |  | NGL |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7
[8 empty] | 2001-03-27 | 2001-03-27 |  |  |  | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27 | 2001-03-27
29 | Siemens | CM32 | CM32 version 3.6 |  | C32 | Issue 1 (see note 3) | Issue 3 (see note 3) | [5 empty] | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 2001-06-05 | 2001-06-05 | [5 empty] | 2001-06-05 | 2001-06-05 | 2001-06-05 | 2001-06-05 | 2001-06-05 |  | 2001-06-05
30 | Iskraemeco | Poreg | Outstation |  | POR | Issue 1 (see note 3) | Issue 3 (see note 3) | [5 empty] | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 2001-06-20 | 2001-06-20 | [5 empty] | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20 | 2001-06-20
31 | Siemens Metering Services | CM32 | CM32 version 4.5 |  | C32 | Issue 1/2 (see note 3 & 5) | Issue 1/2/3/4 (see note 3 & 5) | [5 empty] | 2001-03-27: Stark Reality v7.18c on Windows 7
[6 empty] | 2008-06-24 | 2008-06-24 | [5 empty] | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14 | 2002-05-14
32 | Siemens | n/a | Quad 4 Plus (outstation SQ4) |  | QD4 | Issue 1 (see note 3) | Issue 3 (see note 3) | Issue 5 | Issue 6 |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3
[6 empty] | 2005-04-01 | 2005-04-01 | 2005-04-01 | 2005-04-01 |  |  |  | 2001-03-27: 2008-10-14
33 | Siemens Datacare | n/a | ZMU 202 C |  | ZMU | Issue 1 (see note 3) | Issue 3 (see note 3) | Issue 5 | Issue 6
[6 empty] | 2005-04-01 | 2005-04-01 | 2005-04-01 | 2005-04-01
34 | Landis & Gyr | n/a | FAG10 |  | FAG | Issue 1 (see note 3) | Issue 3 (see note 3) | Issue 5 | Issue 6 |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3
[6 empty] | 2005-04-01 | 2005-04-01 | 2005-04-01 | 2005-04-01 |  |  |  | 2001-03-27: 2008-10-13
35 | CEWE | n/a | CEP |  | CEP | Issue 1 (see note 3)
1994-01-10
36 | CEWE | n/a | CEQ |  | CEQ | Issue 1 (see note 3)
1994-01-10
37 | Actaris | ACE6000 | 665 |  | AC6 |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: Stark Reality v7.18c on Windows 7 03/07/2007; 2012-11-05: MDR v3.4 07/12/2010 |  |  |  | MDR v3.4 | MDR v3.4
[8 empty] | 2006-11-03 | 2006-11-03 | [14 empty] | 2021-07-28 | 2021-12-02
38 | CEWE | Prometer | R & W Firmware v1.4.x | Yes | CP2 | Issue 2 (see note 4) | Issue 4 (see note 4) | Issue 5 (see note 4) | Issue 6 (see note 4) |  |  |  | EIServer 8.7 on Windows XP, SP3 28/07/2011 |  | 2011-08-08 |  | MV90 Xi v2 16/03/2013 | MDR v1.4.0.17 on Windows XP 03/04/2008 | Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | MDR v3.4 05/12/2011 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
|  |  | Firmware v2.0.x | Yes |  | Issue 2 | Issue 4 | Issue 5 | Issue 6
[6 empty] | 2009-01-12 | 2009-01-12 | 2009-01-12 | 2009-01-12
|  |  | Firmware v2.1.x, v3.0.x, v3.1.x,3.4.x & 3.5.x | Yes |  | Issue 2 | Issue 4 | Issue 5 | Issue 6
[6 empty] | 2011-07-28 | 2011-07-28 | 2011-07-28 | 2011-07-28
39 | EDMI |  | Mk10-1, 2 and 3 Firmware v1.19 | Yes | E10 |  |  | Issue 5 | Issue 6 |  |  | Issue 1 | EIServer 8.7 on Windows XP, SP3 16/03/2009 | MV90xi v2, Windows 7 25/05/2016 | Eziview v4.05 & MV90 XI v2.0 04/01/2008 & 25/05/2010 |  | MV90 Xi v2 16/03/2013 | MDR v1.5.0.4 on Windows XP 20/11/2009 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 05/11/2012 | EIServer 8.9.27 on Windows 2003 29/05/2014 |  | Connexo v10.8 13/05/2021 | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021 | Connexo v10.8 21/01/2022
[8 empty] | 2008-01-04 | 2008-01-04 |  |  | 2009-02-26
|  |  | Mk10-3, 4 Firmware v1.36 | Yes |  |  |  | Issue 5 | Issue 6 |  |  | Issue 1/2
[8 empty] | 2009-07-06 | 2009-07-06 |  |  | 2009-06-25
|  |  | Mk10 Firmware v1.19, v1.36, v1.366, v1.367 & v1.416 | Yes |  |  |  | Issue 5 | Issue 6 |  |  | Issue 1/2
[8 empty] | 2009-07-06 | 2009-07-06 |  |  | 2009-06-25
|  |  | Mk10A Firmware v1.366, v1.367, v1.416 & v1.417 | Yes |  |  |  | Issue 5 28/02/2011 | Issue 6 28/02/2011 |  |  | Issue 2 28/02/2011
[9 empty] | 2011-02-28 |  |  | 2011-02-28
|  |  | Mk7B Firmware v1.45, v1.505, v2.910, v2.911 & v2.912 | Yes | [7 empty] | Issue 2
2016-01-05
|  |  | Mk10D Firmware v1.29, v1.36, v1.366,v1.367, v1.416, v1.417, v1.43, v1.45, & v1.464 | Yes |  |  |  |  | Issue 6 |  |  | Issue 1/2
[9 empty] | 2011-02-28 |  |  | 2009-06-25
|  |  | Mk10E Firmware v1.416 & v1.417 | Yes |  |  | Issue 4 | Issue 5 | Issue 6 |  |  | Issue 2
[7 empty] | 2011-08-03 | 2011-02-28 | 2011-02-28 |  |  | 2011-02-28
|  |  | Mk10E Firmware v1.366 | Yes |  |  |  | Issue 5 | Issue 6 |  |  | Issue 2
[8 empty] | 2011-02-28 | 2011-02-28 |  |  | 2011-02-28
|  |  | Mk7A Firmware v1.366, v1.367, v1.416 & v1.417 | Yes | E07 | [6 empty] | Issue 2 | 2001-03-27: Stark Reality v8.66.42.0 on Windows 10 07/10/2020 |  |  | Connexo v10.8 13/05/2021 |  |  | Connexo v10.8 21/01/2022
2011-02-28
|  |  | Mk7C Firmware v1.29, v1.36, v1.366, v1.367, v1.416 & v1.417 | Yes | [7 empty] | Issue 1/2
2009-06-25
40 | Landis + Gyr | E650 | ZMD405, ZMD410, ZFD405 & ZFD410 Firmware version B24 |  | ZMD |  |  | Issue 5 | Issue 6 |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 29/01/2009; 2001-03-27: Itron EE (IEE) MDM version 10 and TIM_ZMD 121021 3.1.20.6.; 2001-03-27: Stark Reality v8.77.22.0 on Windows 10 15/08/2022; 2012-11-05: MDR v3.4 07/12/2010 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
[8 empty] | 2008-12-16 | 2008-12-16
41 | ELSTER |  | A1140 Firmware v 2-01178-N/P/Q, 2-01322-H/J/K/L, 2-01340-D/E/G/H, 2-01345-A, and 2-01398-A | Yes | A11 | [6 empty] | Issue 1/2 25/06/2009 | EIServer 8.7 on Windows XP, SP3 16/07/2009 | MV90xi v2, Windows 7, 28/10/2015 | MV90Xi2 with TIM 4.0.0.7 on Windows XP SP3 13/01/2012 |  | MV90 Xi v 11.3 Win 7 Pro 15/10/2015 | Windows XP MDR v1.5.0.4 17/07/2009 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 07/12/2010 | EIServer v8.9.79, Windows 2003, 02/11/2015 | BT UK Metering Data Collection System v0.82.0-RELEASE 17/03/2021 |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021 | Connexo v10.8 21/01/2022
|  |  | A1160 Firmware v 2-01397-G | Yes | [7 empty] | Issue 2 23/10/2014 | 2001-03-27: Stark Reality v7.18c on Windows 7 28/10/2015
|  |  | AS3000 Firmware v 10.02 | Yes | [7 empty] | Issue 2 12/11/2014
|  |  | AS230 Firmware v 2-01331-J/K/L/M/N | Yes | A23 | [6 empty] | Issue 1/2 25/06/2009 | EIServer 8.7 on Windows XP, SP3 16/07/2009 |  |  |  | MV90xi, Windows 7 Enterprise, 07/06/2016 | Windows XP MDR v1.5.0.4 17/07/2009 | Stark Reality v8.66.42.0 on Windows 10 07/10/2020 | MDR v3.4 07/12/2010 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021 | Connexo v10.8 21/01/2022
42 | Iskraemeco |  | MT375 Firmware v 035.000.221.004/5 | Yes | IMT |  |  | Issue 5 04/09/2009 | Issue 6 04/09/2009 |  |  | Issue 2 04/09/2009 | 2001-03-27: EIServer 8.11 on Windows 08/03/2019; 2001-03-27: Stark Reality v8.66.42.0 on Windows 10 16/12/2021 | EIServer 8.9.93 on Windows 2003 04/07/2016
43 | Landis+Gyr |  | ZMQ202, ZMQ205, ZFQ202 & ZFQ205 Firmware version H03 |  | ZMQ | Issue 2 21/01/2010 | Issue 4 21/01/2010 | [5 empty] | 2001-03-27: EIServer 8.7 on Windows XP, SP3 21/01/2010
44 | EDMI |  | Mk6E Firmware version 3.381 | Yes | E06 | Issue 2 28/01/2010 | Issue 4 28/01/2010 | [5 empty] | 2001-03-27: EIServer 8.7 on Windows XP, SP3 28/01/2010
45 | Schneider Electric |  | ION 7550, 7650 Firmware v356 |  | IO1 | Issue 2 12/11/2010 | Issue 4 12/11/2010 | Issue 5 12/11/2010 |  |  |  |  | 2001-03-27: EIServer 8.11 on Windows 12/11/2010
46 | Schneider Electric |  | ION 8800 Firmware v335 |  |  | Issue 2 12/11/2010 | Issue 4 12/11/2010 | Issue 5 12/11/2010 |  |  |  |  | 2001-03-27: EIServer 8.7 on Windows XP, SP3 12/11/2010
47 | Kenda | Nebula | Outstation Firmware v1.1 |  | KMO | Issue 2/3 11/11/2010 30/06/2022 | Issue 4/5 11/11/2010 30/06/2022 | [5 empty] | 2001-03-27: EIServer 8.7 on Windows XP, SP3 11/11/2010
48 | Secure Meters (UK) Ltd | Sprint 200 | SPD0B2 |  | SPN | [6 empty] | Issue 2 28/07/2011 | 2001-03-27: EIServer 8.7 on Windows XP, SP3 28/07/2011
49 | Landis+Gyr | E650 | ZMD410CT44.xxx7 S3, S4 ZMD410CT44.xxx9 S3, S4 ZFD410CT44.xxx7 S3, S4, ZFD410CT44.xxx9 S3, S4 Firmware Version: B31 , B32 & B40 |  | ZMD |  |  | Issue 5 08/01/2013 | Issue 6 08/01/2013 |  |  | Issue 2 08/01/2013 | 2001-03-27: EIServer 8.7 on Windows XP, SP3 21/01/2010; 2001-03-27: Itron EE (IEE) MDM version 10 and TIM_ZMD 121021 3.1.20.6.; 2001-03-27: Stark Reality v8.77.22.0 on Windows 10 15/08/2022; 2012-11-05: MDR v3.4 05/11/2012 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
| Landis+Gyr | E650 | ZMD310CT44.xxx7 S3a, S4 ZMD310CT44.xxx9 S3a, S4 Firmware Version: B31, B32 & B40 | [5 empty] | Issue 6 08/01/2013 |  |  | Issue 2 08/01/2013
| Landis+Gyr | E650 | ZMD405CT44.xxx7 S3, S4 ZMD405CT44.xxx9 S3, S4, ZFD405CT44.xxx7 S3, S4 ZFD405CT44.xxx9 S3, S4, Firmware Version: B31, B32 & B40 |  |  |  | Issue 4 08/01/2013 | Issue 5 08/01/2013 | Issue 6 08/01/2013 |  |  | Issue 2 08/01/2013
| Landis+Gyr | E650 | ZMD402CT44.0457 S3, S4 ZMD402CT44.0459 S3, S4 ZFD402CT44.0457 S3, S4 ZFD402CT44.0459 S3, S4 ZMD402CT44.0467 S3, S4 ZMD402CT44.0469 S3, S4 ZFD402CT44.0467 S3, S4 ZFD402CT44.0469 S3, S4 Firmware Version: B31, B32 & B40 |  |  | Issue 2 08/01/2013 | Issue 4 08/01/2013 | Issue 5 08/01/2013 | Issue 6 08/01/2013 |  |  | Issue 2 08/01/2013
50 | Kaifa Technology Co Ltd | MA110 | 050502150211, 050206150211 |  | KRJ | [6 empty] | Issue 2 4/05/2016
| Kaifa Technology Co Ltd | MA309 | 260306160301, 060300160301 |  | KRJ | [6 empty] | Issue 2 4/05/2016
51 | EM-Lite Ltd | EMA1 | EMA1.* Firmware Version: v3.03-2, v3.04-0 & v3.04-2 Software Version: v3.20-4 | Yes | EM1 | [6 empty] | Issue 2 9/10/2020 | 2001-03-27: Stark Reality v8.66.42.0 on Windows 10 29/11/2021; 2012-11-05: MDR v3.4 19/03/2021 |  |  |  | MDR v3.4 28/07/2021 | MDR v3.4 02/12/2021
52 | Secure Meters (UK) Ltd+B126:P126 | Prometer 100 | P3E and R3E Firmware Versions: Metering (v32-00); Application or CLEM (M6X8G05 & M6X8G0B); and DLMS (M6XXG03) |  | PRO | Issue 2/3 09/03/2022 30/06/2022 | Issue 4/5 09/03/2022 30/06/2022 | Issue 5/6 09/03/2022 30/06/2022 | Issue 6/7 09/03/2022 30/06/2022 |  |  | Issue 2/3 09/03/2022 30/06/2022 | 2001-03-27: EIServer 8.11 on Windows (CPC Protocol Version 2022-01-17) 09/03/2022
53 | EM-Lite Ltd | EMP1 | EMP1.* Firmware Versions: v1.06.5 & v1.06.6 | Yes | EM2 | [6 empty] | Issue 2/3 10/11/2021 30/06/2022 | 2001-03-27: MDR v3.4 30/03/2022; 2001-03-27: Stark Reality v8.71.69.0 on Windows 10 31/03/2022; 2012-11-05: MDR v3.4 30/03/2022 (UDMS only) |  |  |  | MDR v3.4 30/03/2022
The following Meter types are included for the purposes only of providing an Outstation type for use in the Retail Energy Code (REC) Energy Market Data Specification (EMDS) data item DI50222 'Outstation Type' (DTC Data Item J0471): | [8 empty] | Blue text in this document denotes the most recent changes
| Elster |  | AS1440 Firmware v 2-01322-H |  | A14
Compliance and Protocol approvals List V68.0
Notes
1) Not used
2) Premier has dispensation (D334) so that it can be installed in COP2
installations up to 31 July 2006
3) ISG has approved dispensation (D339) which allows this Metering Equipment type to be installed until 23 February 2008 (and will continue to be applicable for the life time of the Metering System). For new Metering System registrations after this date, Metering Equipment will be subject to compliance with the current issue of the relevant Code of Practice.
4) Prometer R & W with the firmware package versions listed in this row of the table are subject to dispensation D340.
5) ISG has approved dispensation (D344) which allows this Metering Equipment type to be used for all issues of CoP1 and CoP2 up to and including CoP1 Issue 2 and CoP2 Issue 4.
6) These Outstation codes will become effective from 4 November 2010 (CP1315)
7) For SVA purposes. Only Outstations that have been identified as having a fixed pulse multiplier of 1 may be exempt from a SVA proving test in accordance with the Metering Operations Schedule of the Retail Energy Code and BSCP502.
8) Metering Dispensation D/535 allows Meters and Outstations that are compliant with CoP1 Issue 2, CoP2 Issue 4, CoP3 Issue 5, CoP5 Issue 6 or CoP10 Issue 2 to continue to be installed and registered for Settlement from 30 June 2022 until 30 December 2023 against CoP1 Issue 3, CoP2 Issue 5, CoP3 Issue 6, CoP5 Issue 7 and CoP10 Issue 3.
Note: CoP5 Issue 6 compliances refer to communications by means of interrogation unless otherwise stated.
Protocols for use with CoP5 Issue 6 compliant metering applies to communications by means of interrogation unless otherwise stated.
CoP4 Sample Calibrations
| Meter Type | Sample Calibration Year
|  | 2010 | 2011 |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
| Prometer R/W (Registered against CoP1 or 2) | ü | ü | bar: 2012 to 2014
Prometer R/W (Registered against CoP3, 5 , 6 or 7) | bar: 2015 to 2019
This table shows which Meters Types require Sample Calibrations in the indicated year in accordance with CoP4 Section 5.2